## lighting
location | type | switch | light | device
Basememt
rec room | 2x4 Led fixture | 0 | 0 | 0
rec room closet | flush | 0 | 0 | 0
mechnical closet | flush | 0 | 0 | 0
rec room | can light | 0 | 0 | 0
laundry area | can light | 0 | 0 | 0
exterior light | sensor controlled light | 0 | 0 | 0
Bathroom bsmt | flush mount | 0 | 0 | 0
Bathroom bsmt | ceiling mount | 0 | 0 | 0
Bathroom bsmt | light/exhaust | 0 | 0 | 0
stairway | can light | 0 | 0 | 0
First Floor
bathroom | ceiling/sink | 2 | 2 | 4
kitchen | can/ceiling | 4 | 4 | 8
Bedroom # 1 | Ceiling Fan | 2 | 2 | 4
bedroom #2 | ceiling Fan | 2 | 2 | 4
dining room | ceiling | 1 | 4 | 5
exterior | wall light | 1 | 3 | 4
laundry Area | Wall light | 1 | 1 | 2
living rm | can/ceiling | 2 | 4 | 6
|  | 15 | 22 | 37
Second Floor
bathroom | ceiling/sink | 2 | 2 | 4
kitchen | can/ceiling | 3 | 2 | 5
bedroom #2 | ceiling Fan | 1 | 1 | 2
Bedroom#1 | Ceiling Fan | 2 | 2 | 4
dining room | ceiling | 1 | 1 | 2
exterior | wall light | 1 | 3 | 4
living rm | can/ceiling | 2 | 4 | 6
|  | 42 | 59 | 101
|  |  | Lighting | 138
|  |  | Power | 99
|  |  |  | 237 | Labor | 23700
[5 empty] | Material | 5251.15
[6 empty] | 28951.15 | 25951.15
[5 empty] | Total | 28951.15
[5 empty] | Permit Changeout | 300
28951.15
10167.9025
[5 empty] | Total 35% done | 18783.2475

## power
location | receptacles | data wifi/Doorbell | smoke detector | Exhaust Fans | HPHW | Hvac | SP | GFCI | total
Basement | [7 empty] | 1 | 1
Bathroom storage |  |  |  | 2 |  | 2 |  | 3 | 7
stairway | [8 empty] | 0
0
First Floor | [8 empty] | 0
living rm | 6 | [7 empty] | 6
Bedroom #1 | 6 |  | 1 | [5 empty] | 7
bathroom | 2 |  |  | 1 |  |  |  | 1 | 4
kitchen | 2 | 0 | 1 |  |  |  |  | 3 | 6
bedroom #2 | 6 |  | 1 | [5 empty] | 7
dining room | 4 |  | 2 | [5 empty] | 6
Laundry Area | 2 | 1 | 1 |  |  |  |  | 2 | 6
microwave | 1 | [7 empty] | 1
Hallway
stove | 1 | [7 empty] | 1
Refrigerator | 1 | [7 empty] | 1
| 31 | 1 | 6 | 3 | 0 | 2 | 0 | 6 | 53
Second Floor | [8 empty] | 0
living rm | 6 | [7 empty] | 6
Bedroom #1 | 6 |  | 1 | [5 empty] | 7
bathroom | 2 |  |  | 1 |  |  |  | 1 | 4
kitchen | 2 | 0 | 1 |  |  |  |  | 3 | 6
bedroom #2 | 6 |  | 1 | [5 empty] | 7
dining room | 4 |  | 2 | [5 empty] | 6
Laundry Area | 2 | 1 | 1 |  |  |  |  | 2 | 6
microwave | 1 | [7 empty] | 1
Hallway
stove | 1 | [7 empty] | 1
Refrigerator | 1 | [7 empty] | 1
| 63 | 2 | 12 | 4 | 0 | 2 | 0 | 6 | 99

## materials cost
Location | SF | SFM | total Linear ft | total cost | Notes
Conduit-1/2 | 1400 | 2 | 700 | 840
conduit-1 PVC | 0 | 2 | 0 | 0
RMC-2in | 20 | 2 | 10 | 32
Conduit-3/4 | 1400 | 2 | 40 | 128
Location | quantity | price |  | total
Receptacle | 57 | 0.25 |  | 14.25
1900 boxes | 144 | 0.75 |  | 108
switches | 21 | 0.25 |  | 5.25
wire nuts | 2 | 15 |  | 30
screws | 1 | 7 |  | 7
Circuit breaker Panels | 3 | 150 |  | 450
smart panel breakers | 0 | 7 |  | 0
Smart wifi breakers | 0 | 55 |  | 0
wire #12 | 8 | 150 |  | 1200
Meter Fitting | 1 | 375 |  | 375
wire # 10 | 2 | 165 |  | 330
wire # 8 | 0 | 225 |  | 0
ceiling Fan boxes | 4 | 10 |  | 40
Wire#14 | 8 | 75 |  | 600
canlights | 24 | 6.5 |  | 156
coupling | 3 | 15 |  | 45 | 2024-01-02
connnectors | 3 | 15 |  | 45 | 2024-01-02
Grounding brushing | 2 | 3 |  | 6
Grounding wire #6 | 1 | 100 |  | 100
Grounding strap | 2 | 3.5 |  | 7
Grounding tags | 2 | 1 |  | 2
2’ Lb Mogul type | 1 | 15 |  | 15
2’ Nipple | 1 | 15 |  | 15
2’ locknuts | 4 | 5 |  | 20
straps | 2 | 12 |  | 24 | 2024-01-02
2' weatherhead | 1 | 15 |  | 15
1' 90 degree RMC | 0 | 8 |  | 0
1' male connector | 0 | 2 |  | 0
pvc primer and glue | 0 | 12 |  | 0
1’ pvc couplings | 0 | 2 |  | 0
Surge protector | 0 | 350 |  | 0
60amp disconnect | 2 | 75 |  | 150
4759.5
|  |  | Taxes | 571.14
|  |  | Total | 5330.64
|  |  | 35% Done | 1865.724
|  |  | 35% Done Total | 3464.916