## budget
Description | amount | Files | Paid
Income 7414 | 10900
change orders | 0
income 7919 | 10900
change orders | 0
Revenue | 21800
premit | 600
material | #REF!
labor | 13926.99
taxes | 2616
Ovrall Debt | #REF!
Revenue | 21800
Debt | #REF!
Profit | #REF!

## Material List
Service |  |  | 4200
Description | items | amount | total amount
Circuit breaker Panels 200 amp | 2 | 250 | 500
200 Meter Fitting | 2 | 125 | 250
Circuit breaker Panels(homeline) | 2 | 180 | 360
10ft-2in rigid Conduit | 2 | 30 | 60
10ft-3/4 EMT conduit | 1 | 7 | 7
circuit breakers-15amp |  | 4.5 | 0
Circuit breaker-20amp |  | 5 | 0 | 1
Circuit breaker 30amp |  | 6 | 0
Circuit breaker 40amp | 2 | 8 | 16
2in weather head | 2 | 6 | 12
I Plate | 2 | 7 | 14
6in-2in Nipple | 4 | 6 | 24
3in-2n Nipple | 2 | 4 | 8
2in locknuts | 12 | 2.5 | 30
2in straps | 2 | 5 | 10
General Wiring and Rough
10ft-1/2 in EMT conduit | 10 | 7 | 70
1/2 in EMT Connector | 1 | 15 | 15
1/2in Couplings | 1 | 15 | 15
1900 boxes | 10 | 4.5 | 45
Garvin Single Device plate | 2 | 3 | 6
3/8 flex conduit | 1 | 30 | 30
3/8 flex connectors | 1 | 25 | 25
10ft-3/4 EMT conduit | 1 | 7 | 7
Thhn 12 |  |  | 0
0
0
0
Grounding
grounding Tag | 4 | 1.5 | 6
Groung Brushing | 4 | 3 | 12
Grounding Strap | 4 | 3 | 12
Misc Items
Tap cons | 1 | 15 | 15

## Labor cost
Description | Company | name | Hr | Crew | base pay | Fringe | H/w | pension | trng | vac | other ins | total
7414 s Drexel Ave
premit | MLP Electric | Mike petway | 1 | 1 | 300 | [6 empty] | 300
Supervision | Blacktech | Derrell Black | 14 | 1 | 110.95 | 44.43 | 19.34 | 21.13 | 1.87 | 1.61 | 0.3 | 1597.73
Supervision | Destinctive electric | David Johnson | 40 | 1 | 110.95 | 44.43 | 19.34 | 21.13 | 1.87 | 1.61 | 0.3 | 4482.43
electrican | Destinctive electric | Winston | 0 | 1 | 107.78 | 44.43 | 19.34 | 21.13 | 1.87 | 1.61 | 0.3 | 44.25
7919 s Dorchester
premit | MLP Electric | Mike Petway | 1 | 1 | 300 | [6 empty] | 300
Supervision | Blacktech | Derrell Black | 14 | 1 | 107.78 | 44.43 | 19.34 | 21.13 | 1.87 | 1.61 | 0.3 | 1553.47
Supervision | Destinctive electric | David Johnson | 40 | 1 | 107.78 | 44.43 | 19.34 | 21.13 | 1.87 | 1.61 | 0.3 | 4355.75
electrican | MLP Electric | mike petway | 12 | 1 | 107.78 | 44.43 | 19.34 | 21.13 | 1.87 | 1.61 | 0.3 | 1293.36
electrican | Destinctive electric | Winston | 0 | 1 | 107.78 | 44.43 | 19.34 | 21.13 | 1.87 | 1.61 | 0.3 | 0
3521 w 134th st
admin |  |  | 0 | 1 | 105 | [6 empty] | 0
Supervision |  |  | 0 | 1 | 125 | [6 empty] | 0
electrican |  |  | 0 | 3 | 100 | [6 empty] | 0
|  |  | 122 |  | Total Pay | [6 empty] | 13926.99

## Vendor cost
Company | Price | invoice file
Production Downs Companies | 1539.56 | invoice for 7919 S Dorchester Ave
Destinctive electric materials | 3577.19
Destinctive electric 7919 | 4355.75
Destinctive electric 7417 | 4482.43
MLP Electric | 1293.36
Distinctive electric Labor | 7932.94
Distinctive Materials | 3577.19
11510.13