The first phase of our project involves replacing the roof of the community center to a cool roofing system that reflexes the sun. A sturdy, well-insulated roof is essential to ensure the integrity of the building and to create a suitable foundation for the installation of solar panels. This upgrade will also improve the building's energy efficiency by reducing heat loss and preventing water damage.

Once the roof is replaced, we will install a Tier 1 solar photovoltaic (PV) system. This system will consist of high-efficiency solar panels capable of generating a significant portion of the community center's electricity needs.  The system will include high efficiency and reliable microinverters supplied by Enphase or SolarEdge.  The solar installation will reduce the center’s reliance on grid electricity, lower energy costs, and provide a sustainable source of power. The energy generated will also help to offset the building's carbon footprint, contributing to local and global environmental goals.

We also plan to add a HVAC system with a modern, energy-efficient one. The new system will provide better temperature control, improve indoor air quality, and significantly reduce energy consumption. Efficient HVAC systems are crucial for maintaining a comfortable environment for community events and programs while minimizing operational costs.

In addition to the HVAC upgrade, we will install a comprehensive ventilation system throughout the building. This system will ensure adequate airflow, remove indoor pollutants, and enhance the overall air quality. Proper ventilation is particularly important in community centers where many people gather, ensuring a healthy and comfortable environment.

.

To further improve energy efficiency, we will add insulation to walls and ceilings and implement weatherization measures such as sealing windows and doors. These upgrades will reduce heat loss in winter and heat gain in summer, maintaining a stable indoor temperature and reducing the load on the HVAC system.

We will retrofit the existing LED lighting system with LED lights with bluetooth  motions detection throughout the community center.Buetooth LED lighting is significantly more energy-efficient than LED traditional lighting and has a longer lifespan, resulting in lower energy bills and reduced maintenance costs. Improved lighting will enhance the usability of the center for events and programs, creating a more inviting and functional space.

consumption, allowing for adjustments that maximize efficiency and minimize waste. The system will also offer insights into potential further improvements and savings opportunities.

Were  also Install  Electric Vehicle Charging Stations which will enhance the community center.. A Network of EV charging stations to support the growing demand for sustainable transportation solutions. As the adoption of electric vehicles increases, the need for accessible and reliable charging infrastructure is in demand.

A critical component of our project is to educate the community about the benefits of renewable energy and energy efficiency. Our partnerships will be instrumental in the education of our project, the EEF Grant, and ILSFA to the local community. We will develop and implement an educational program that includes workshops, seminars, and hands-on demonstrations. This program will be hosted at the community center and open to all residents, aiming to increase awareness and promote the adoption of sustainable practices in homes and businesses throughout Chicago southside and surrounding areas.

This project is designed to rebuild trust by demonstrating the tangible benefits of renewable energy and energy efficiency. The visible improvements and resulting cost savings will serve as a powerful testament to the potential of such initiatives. By actively involving community members in the project’s progress and success, we aim to foster a positive perception of renewable energy solutions and related programs.

In conclusion, this comprehensive energy efficiency and renewable energy project for the Robbins Community Center will address critical community needs, reduce energy costs, and lower the environmental impact. The project includes replacing the existing  roof with a cool roof , installing a Tier 1 solar system, upgrading the HVAC and ventilation systems, implementing energy-efficient appliances and lighting, and enhancing insulation and weatherization and EV charging stations. Additionally, we will engage and educate the community about the benefits of these upgrades, aiming to build trust and promote sustainable practices. This initiative will position Center as a beacon of progress and a model for future projects in similar communities.