Based on the "Grocery Cart Items" document provided, the total count of New Equipment is 5,016.

This total is derived from the "Quantity of New Equipment" column. Here is the line-by-line breakdown for your records:

### Interior Lights

| Room/Location | Quantity of New Equipment |
| --- | --- |
| Offices (various) | 342 |
| Patient rooms | 750 |
| Gymnasium, sally port | 15 |
| Entrance lobby, hallways | 677 |
| Unit rooms, stairwell | 627 |
| Killborn Mechanical room | 35 |
| Offices (various) | 821 |
| Warehouse | 3 |
| Gym | 34 |
| Unit Rooms | 290 |
| Hall, clinics, offices | 146 |
| Lobby, hall, TV room | 794 |
| Workshop, lobby | 31 |
| Laundry, hallway | 317 |
| Interior Subtotal | 4,988 |

### Exterior Lights

| Room/Location | Quantity of New Equipment |
| --- | --- |
| Outdoors | 28 |
| Exterior Subtotal | 28 |

Total New Equipment: 5,016

Would you like me to calculate the total energy savings (Wattage reduction) or the total Network-Watts Controlled for this project?